## Slide 1
Jeehyun park
M.S. Student, The University of Texas at Austin
May 2021
Learning for DC-OPF: Classifying Active GEN Constraints using Graph Attention Networks
EE 394V DAPS Final Project Presentation

## Slide 2: Motivation
Optimal Power Flow (OPF) problem.
Increasing uncertainty and variability in energy sources and demands.  Increasing uncertainty realizations [1].
To respond to the observed uncertainty realizations
  The optimal solution needs to be updated near real-time.
  Utilize Neural Nets (Fully Connected) for fast OPF solving [1].

## Slide 3: Problem Formulation
Limitations of Fully Connected Neural Nets (FCNN).
  Requires too many training parameters for sufficient performance.
  No interpretability.
Utilize attention algorithms to have better performance and interpretability of the model.

## Slide 4: Proposed Approach
Utilize Graph Conv Nets and Graph Attention Nets to solve OPF problems.
Graph Conv Networks [2]
  Training the parameters based on the power system’s topology.  Less training parameters.  Allows us to utilize attention algorithms.
Graph Attention Networks [3]
  Better performance.
  Model’s interpretability.

## Slide 5: Graph Conv Networks
  : feature vector of node
  : weights (training parameters)
  : activation function
Reduce the number of training parameters
  Less overfitting, low computational cost
Learn local features

## Slide 6: Graph Attention Networks
Attention coefficient:
  Importance of node ’s features to node .
Normalized Attention coefficient
  Easily comparable across different neighbor nodes

## Slide 7: Graph Attention Networks

## Slide 8: Attention in Natural Language Process
Interpretability in NLP [4]

## Slide 9: Experiments
Dataset
  IEEE PES PGLib-OPF benchmark library [5]
Generating datasets for the learning
  Input features
    Demand loads + uncertainty realization
  Output targets
    OPF solution (solved by Matpower7.1): Generators in active constraint condition.

## Slide 10: Experiments
Examples of data
  pglib_opf_case24_ieee_rts: graph

## Slide 11: Experiments
Examples of data
  pglib_opf_case24_ieee_rts: input features & output targets

## Slide 12: Results
Case: pglib_opf_case24_ieee_rts
  GCN: min loss = 0.0254

## Slide 13: Results
Case: pglib_opf_case24_ieee_rts
  GAT: min loss = 0.0206

## Slide 14: Results
Interpretability (attention weights visualization)
  Attention weights visualization figure captured from Deep Graph Library documentation page.

## Slide 15: Conclusion
Attention algorithm in graph nets helps improve performance.
Visualizing the attention weights allows interpretation of the model.
Future Study
  Utilize features from the edges (e.g. line flow) by Edge enhanced Graph Neural Nets [6]

## Slide 16: Reference
[1] D. Deka and S. Misra, “Learning for DC-OPF: Classifying active sets using neural nets,” 2019 IEEE Milan PowerTech, Milan, Italy, 2019, pp. 1-6.
[2] T. Kipf and M. Welling, "Semi-Supervised Classification with Graph Convolutional Networks", arXiv.org, 2021. [Online]. Available: https://arxiv.org/abs/1609.02907. [Accessed: 13- May- 2021].
[3] P. Veličković, G. Cucurull, A. Casanova, A. Romero, P. Liò and Y. Bengio, "Graph Attention Networks", arXiv.org, 2021. [Online]. Available: https://arxiv.org/abs/1710.10903. [Accessed: 13- May- 2021].
[4] T. Understanding, "Transformer: A Novel Neural Network Architecture for Language Understanding", Google AI Blog, 2021. [Online]. Available: https://ai.googleblog.com/2017/08/transformer-novel-neural-network.html. [Accessed: 13- May- 2021].
[5] The IEEE PES Task Force on Benchmarks for Validation of Emerging Power System Algorithms, “PGLib Optimal Power Flow Bench-marks,” Published online at https://github.com/power-grid-lib/pglib-opf, [Accessed: 3- Apr- 2020].
[6] L. Gong and Q. Cheng, "Exploiting Edge Features in Graph Neural Networks", arXiv.org, 2021. [Online]. Available: https://arxiv.org/abs/1809.02709. [Accessed: 29- Apr- 2021].